Swarnandhra College of Engineering & Technology

(Autonomous)

Department of Civil Engineering

ENVIRONMENTAL ENGINEERING

QUESTION BANK

UNIT-I

- What are the different systems of sanitation? What are its relative merits and demerits?

- Explain briefly about the classification of sewerage systems?

- Explain the method of estimating storm water flow?

- Write about different types of sewers?

- Explain about cleaning and ventilation of sewers?

UNIT-II

1. Define pumping station? What are the factors considered while

locating a pumping station?

2. What are the pumps available for pumping sewage and write about

their suitability under different conditions?

3. Compare centrifugal and reciprocating pumps?

4. Explain different systems of house plumbing?

5. What are the sanitary fittings and accessories used in house

plumbing?

6. Explain one pipe and two pipe system of house plumbing?

UNIT-III

- Explain about different characteristics of sewage?

- Define BOD? How it is measured?

- Explain about the primary treatment of sewage?

- Write about grit chambers and greese traps in sewage treatment?

UNIT-IV

1. Compare aerobic and anaerobic treatment process of sewage?

2.  Explain about activated sludge process? What are the principles

in ASP?

- Explain about the operational problems in ASP units?

- Explain with neat sketch about aerated lagoons and oxidation ponds?

- Write about the mechanism involved in removing impurities by trickling filters?

- What are the operational and maintenance problems in trickling filters?

- Explain about RBCs and fluidized bed reactors?

UNIT-V

1. Write about Nitrification and de nitrification?

2. Explain how the phosphates are removed from sewage?

3. Write about membrane reactors and integrated fixed film

reactors?

4. Explain about working of septic and imhoff tanks with neat

sketches?

5. What are the principles involved in design and working of septic

tanks?

UNIT-VI

1. What are the characteristics of bio solids? How the sludge is handled?

2. Write about anaerobic digestion of sludge?

3. Explain about different methods of disposal of sludge?

4. Write short notes on

i) Oxygen sag curve ii) Sewage sickness.

****